Fragment from Electrical Installation Code (ПУЭ)

Subject: Is there any requirements for arranging water drainage system for cables’ RC inspection chambers.

- Selection of cables

    - Usually naked cables in lead reinforced sheath should be laid in cable blocks or pipes…

It is accepted for cables laid in pipes to use cables with plastic or resin sheath.

    - In areas of crossing of cable lines by stream or its floodplain and ditch require to use the same type of cable as for laying it in the ground trench (also refer to 2.3.99).

- Cable laying in the ground trench

    - Cables should be laid in pipes in crossing areas of driveways to yard, garages etc.

The same way of cables protection is used for areas where cables cross stream and ditch.

Resume:

Considering above mentioned items from Electrical Installation Code (ПУЭ) we may assume following conclusion:

- Drainage for cables’ RC inspection chambers may not be required because cables should be laid in pipes and have plastic or resin sheath.